## Slide 1
Integrated Emergency Cyber Physical Human Systems
Department of Computer Science, University of Illinois
Intensive Care Unit, Carle Foundation Hospital
Abstract
Researchers from the University of Illinois at Urbana-Champaign in collaboration with physicians and nurses from Intensive Care Unit, Carle Foundation Hospital are developing a new initiative on engineering next generation of medical systems. This project is part of the initiative and focuses on exploring the efficient and safe operation of integrated Emergency Cyber Physical Human (ECPH) systems in emergency scenarios from the Intensive Care Unit (ICU) environment.
This project advances the science, technology, and engineering for a class of cyber-physical systems; namely, team emergency response systems, defined as those involving a small team of humans, who collaborate with engineered artifacts (e.g., sensors) and computing devices in life-critical, fast-changing environments, to avert imminent loss of life or property.
Requirements
Requirement 1: Integrity under fast-changing conditions.
ICU patents’ condition deteriorate
New initially-overlooked internal injuries uncovered
Requirement 2: Integrity in the face of errors, uncertainty and failures.
Errors and uncertainty will arise in data measurements
Failures will arise in tools to complete mission.
Lui Sha and Tarek Adel, CS UIUC; Richard Berlin, MD, and Karen White, MD, Carle Foundation Hospital
Challenges
Poliang Wu and Yunlong Gao
Treatment Validation
Developed Resuscitation Assistant System
Workflow Manager
Medical Device Configuration Management
Device Interoperability
Head Nurse
Situation Awareness Display
Treatment validation
Workflow Configuration
Physicians
Microsoft Surface
High mental workload increases the likelihood of medical errors
The medical errors may cause severe complications
The degradation of patient conditions further increases the cyber-physical complexity
ActivateDefibrillator
Rhythm
==
Shockable
InjectEPI
BloodPH
>
7
.
4
UrineFlow
>
12
mL
/
s
Inject
-
SodiumBicarbonate
Airway
&
Breathing
AssistedVentilation
The side effect of bicarbonate may adversely affect patient’s breathing.
Urine flow rate become lower than 12 due to kidney function degradation.
IncreaseIVFluid
The Emergency Transcriber
Improving Team Situation Awareness
Situation-Aware Data Recovery and State Tracking: In a medical environment, sensor data can be noisy. Data quality can be improved based on workflow knowledge, if different states were associated with different eligible data value distributions.
Application: The emergency transcriber. Records the operation of emergency teams using workflow knowledge to improve recording quality.
Results show improved resilience to acoustic noise and interference
Timely and correctly perform treatments while monitoring patient responses is critical for patient safety.
Treatment validation is essential and consists of three aspects
  Precondition
    A treatment can be performed only if the preconditions are satisfied
  Potential side effects
    The side effects of a treatment may adversely affect other treatments or invalidate previously satisfied preconditions
  Expected patient responses
    The effectiveness of a treatment is non-deterministic
The purpose of this work is to assist medical staff to correctly perform treatments rather than automatically performing treatments.
Device Configuration Safety in Acute Care
The safety and efficacy of acute patient care depends on continuously proper use of medical devices.
The device configuration safety depends on the rapidly changing patient condition
  Ex: a blood pressure cuff can give erroneous measurements for a patient with limb ischemia.
We model the patient condition as communicating organ state machines
The states are represented based on a pathophysiological model
The Cardiovascular Organ State Model for Ischemia Syndrome and Relevant Device Configuration Safety Constraints